|  | Fire Inspection & Prevention Initiative. |
| --- | --- |

# Fire Safety Plan (FSP) Review Checklist	Date:

(Component of a BC Fire Code (BCFC) compliance inspection)

| ## COMPANY INFORMATION |  |  |
| --- | --- | --- |
| Company Name: |  | Building Name: |
| Address: | ____________________________________________________________________________________________Street # and Name City/Province Postal Code |  |

Instructions:	Place a ‘’ for ‘Yes’, an ‘X’ for ‘No’, or ‘N/A’ for ‘Not Applicable’ to each statement.

Relevant information can be recorded in the space provided under each item.

At minimum, a fire safety plan (FSP) should include the following information:

| - Fire Safety Plan Review by Building Owner or Occupier (BCFC section 2.8.2.1.(2)): |  |
| --- | --- |
|  | The fire safety plan is current:  Reviewed within the past 12 calendar months  There has not been any significant process or other operation changes since the last review that should be added to the plan |
|  | The individual(s)/company who prepared the fire safety plan or conducted the review is identified. Optional: Determine if the preparer(s) or reviewer(s) had the knowledge and experience to adequately prepare or review a fire safety plan. E.g., a strong background in fire prevention, fire code consulting, inspection procedures, planning or fire protection engineering. |
| Note: Physical site visit can be used to determine if: - Fire Safety Plan implemented as designed. - All reasonably foreseeable fire and explosion hazards, in this building or property, have been identified. Site visit observations can be recorded on the Fire Prevention Inspection Report |  |
| - Emergency Procedures and Information Needed to Plan for an Emergency (BCFC section 2.8.2.1.(1)(a)): |  |
|  | Contact personnel in the event of an emergency.  A list of names and telephone numbers of persons to be contacted during and after normal operating hours or in the event of an emergency is included  Evidence demonstrates the contact personnel are able to respond within a specified time. E.g., their estimated response time is known |
|  | FSP includes written instructions on the procedures to follow when an alarm is sounded. |
|  | Fire emergency procedures developed for prominent posting on each floor. |
|  | Special provisions for persons requiring assistance developed. |
|  | Muster point(s) (or meeting place) identified. |
|  | List of on-site personnel is regularly updated to remain current – ensures ability to accurately account for everybody on site. |
|  | Personnel are assigned to carry out critical tasks:  Sound the fire alarm (designate and backup person)  Notify the fire department (9-1-1) (designate and backup person)  Meet the fire department upon arrival and give information, such as the location of the fire or injury  Site fire warden duties (ensuring various trades are represented)  Assist persons requiring assistance  Confine or control the fire  Other (please specify) _______________________________________  Other (please specify) _______________________________________ |
| - Appointment and Organization of Fire Emergency Supervisory Staff (BCFC section 2.8.2.1.(1)(b)): (Note: Designated fire emergency “supervisory staff” does not have to be from management or be a supervisor. They do need authority consistent with their assigned duties.) |  |
|  | Managers, supervisors and/or staffs have been appointed and organized to respond to a fire emergency in a pre-determined way. |
|  | Appointed personnel are directed and trained to confine or control the fire. |
| - Training of Site Personnel in their Responsibilities for Fire Safety (BCFC section 2.8.2.1.(1)(c)): |  |
|  | Managers, supervisors and/or staffs appointed to respond to a fire emergency are trained in their assigned duties, before they are given responsibility for fire safety (BCFC section 2.8.1.2.(1)). For example:  fire warden duties to coordinate evacuation  duties to provide access and assistance to local government fire fighters  duties to lead a fire brigade, trained and equipped to confine and extinguish a fire |
|  | Security personnel have knowledge of and understand their role in the site’s fire safety plan. For example:  Security personnel have access (keys) to locked areas  The fire department can effectively communicate with the security personnel during an emergency |
|  | Site orientation is provided using the Fire Safety Plan. Topics should include:  Fire and explosion hazards identified in the fire safety planning and risk management assessments  How to prevent or minimize fire and explosion hazards in the workplace  Familiarization with emergency escape routes, exits, and muster points  What to do upon discovery of a fire  What to do upon hearing a fire alarm  Confine or control the fire |
|  | Site fire safety meetings are a part of regular safety meetings. For example, meetings used to review/refresh staff knowledge with a different part of the fire safety plan. |
|  | Site personnel are trained to perform fire prevention duties including:  Control the amounts of potential fuel sources on the site and around the buildings to mitigate fire and explosion hazards  Carry out general site housekeeping  Carry out maintenance activities based on schedules created and followed for manual management or process system management of potential fuel sources with activity completion records signed off by site supervisor  Removal of excess pallets, garbage/waste material and other potential fuel sources on a regular basis  Separation of potential fuel sources from open flame devices  Maintenance of clear unobstructed access route(s) for fire department apparatus and to fire hydrants  Maintenance of designated exit routes from every floor  Separation of access routes from stored combustible materials, equipment, etc  Provision to park vehicles or delivery trucks so they do not obstruct fire department access routes to site or to adjacent buildings or, otherwise, provision for off-site parking and storage  Other (please specify) _______________________________________  Other (please specify) _______________________________________ |
| - Building Fire Emergency Systems (BCFC section 2.8.2.1.(1)(d)): |  |
|  | Diagrams are available on-site. These diagrams should indicate:  Plans of each floor area  Muster point(s)  Location of nearest hydrant(s)  Location of fire protection equipment  Exit paths; and  Service rooms |
|  | Fire Fighting Services – hydrants, fire department connections, sprinklers, and access routes:  FSP contains provisions for accessibility, testing and maintenance of installed services  Firefighter access route(s) to the building are documented  Drawings provided to the fire department are current showing the location of firefighting systems that are operational  Fire suppression and explosion prevention systems incorporated within dust collection systems and duct work are described in the FSP and contains provisions for testing and maintenance  Explosion venting gates on the dust collectors and buildings are described in the FSP, which also contains provisions for site identification, inspection and maintenance |
|  | Fire Extinguishers:  There is sufficient quantity and type on-site to meet the minimum extinguisher rating (confirm with BCFC & NFPA 10). Examples include: - Light Hazard (low): 2A - Ordinary Hazard (Moderate): 2A - Extra Hazard (High): 4A - Movable equipment: 30B:C (minimum) - Fuel Dispensing: 40B:C  They are provided at or near fuel operated equipment  They are mounted with proper signage at exit locations within the required travel distance  They are adjacent to any hot works work stations (e.g. cutting torch, welding, grinding, etc) Note: During site tour, check that fire extinguisher servicing is up-to-date (i.e., within the last 12 months) |
| - Fire Drills (BCFC section 2.8.2.1.(1)(d)): |  |
|  | Fire drill procedures have been developed in accordance with BCFC section 2.8.3. |
|  | Simulated fire drills are conducted when applicable and warranted:  For fire emergency “supervisory staff” (BCFC section 2.8.3.1.(1))  For all staffs |
| - Control of Fire Hazards (BCFC section 2.8.2.1.(1)(f)): (Refer to the Fire Hazard Identification Checklist for potential fuel sources and potential ignition sources) (Refer below to Item #10, Additional Information, for applicable BCFC requirements. |  |
|  | Fire and explosion hazards have been identified through a fire safety planning and risk management assessment or other means.  Potential Fuel Sources  Potential Ignition Sources  How the fire triangle could be completed  How the explosion pentagon could be completed |
|  | For each identified hazard, the best control option has been used. Hierarchy of Controls: - Elimination for fuel source, ignition source or oxygen source, or - Substitution with something less hazardous, and/or - Institute Engineering Controls, and/or - Institute Administrative Controls, and/or - Use Personal Protective Equipment (PPE). |
|  | Where required, safe work procedures have been developed to ensure control measures are used as designed. |
|  | Where required, monitoring equipment have been identified and installed to alert when engineering control measures are no longer effective. |
|  | Where required, emergency fire and explosion suppression equipment have been identified and installed. |
|  | Flammable and Combustible Storage.  Flammable and combustible liquids are properly stored, handled and used in and around the building  Non-petroleum based compressed gases are properly stored, handled and used in and around the building  The storage area is separated from combustible material by three metres  The storage area is locked and vented  The storage area is protected from vehicular/ industrial motorized traffic  Containers and/or storage areas have proper signage/placards in place  There is a current or updated list of dangerous goods on-site such as material safety data sheets (MSDS), as per WHMIS/GHS  There are portable extinguishers provided in close proximity to storage and work areas of sufficient quantity and type on-site to meet the minimum extinguisher rating (confirm with BCFC & NFPA 10). Examples include: - Light Hazard (low): 2A - Ordinary Hazard (Moderate): 2A - Extra Hazard (High): 4A - Movable equipment: 30B:C (minimum) - Fuel Dispensing: 40B:C  The storage area is away from egress and access routes to the site |
|  | Electrical Installations and Petroleum Gases:  The electrical installations and the storage and use of petroleum gases comply with the requirements of the Safety Standards Act and pursuant regulation? (Contact the British Columbia Safety Authority 1-866-566-7233.) |

| - Inspection and Maintenance (BCFC section 2.8.2.1.(1)(g)): |  |
| --- | --- |
|  | The Fire Safety Plan describes, where required, an effective preventive maintenance program to ensure all measures to control fire and explosion remain effective |
|  | The Fire Safety Plan describes, where required, the inspection and testing of fire and explosion suppression systems |
|  | The Fire Safety Plan describes, where required, the inspection and testing of fire and emergency alarm systems |
| - Security: |  |
|  | On-site security is provided: e.g. locked gate, monitored alarm and/or CCTV, 24 hour or nightly walk around Other, please describe_______________________________________ |
|  | There are provisions to secure vacant buildings against unauthorized entry |
|  | There are provision to keep electrical equipment vaults and electrical service rooms locked so that unauthorized persons will not have access to them |
| - Additional Information - FSP requires additional information if the following specific items exist in the operation: |  |
|  | Information, as required by BCFC section 2.8.2.4, is included because of the building height |
|  | Information, as required by BCFC section 3.1.2.6, is included for dangerous goods (e.g., radioactive, explosives, compressed gases, reactive) stored or handled on site |

|  | Information, as required by BCFC section 3.2.1.1, is included for certain products stored indoors |
| --- | --- |
|  | Information, as required by BCFC section 3.3.1.1, is included for certain products stored outdoors |
|  | Information, as required by BCFC section 4.1.6.1(4), is included for spill control and drainage systems because flammable and combustible liquids are stored, handled, used, and/or processed in the operations |
|  | Information, as required by BCFC 4.3.14.5, is included for storage tanks containing flammable or combustible liquids |
|  | Information, as required by BCFC 5.1.5.1, is included for processes and operations involving a risk from explosion, high flammability or related conditions that create a hazard to life safety. Examples include Hot Works, Dust-Producing Processes, Special Processes involving Flammable and Combustible Liquids and Materials, and Laboratories. |
|  | When there are plans for construction, alteration, or demolition, they are being prepared in accordance with BCFC section 5.6.1.3 |

| Fire Safety Plan Review Details |  |
| --- | --- |
| Item | Remarks |

Can be used in conjunction with the one or more following:

Fire Hazard Identification Checklist and/or the Fire Prevention Inspection Report